## Sheet1
Acronym | Scenario description | Load | Generation
|  |  | Wind | PV | Others
|  | p | p | p | p
hL | high load, low DER generation | 1 | 0 | 0 | 0
n1 | high load, low DER generation & contingency case 1.00 0 0 0 | 1 | 0 | 0 | 0
hW | high load, very high wind, high PV, high other DER generation | 1 | 1 | 0.8 | 1
hPV | high load, high wind, very high PV, high other DER generation | 1 | 0.85 | 0.95 | 1
ℓW | low load, very high wind, high PV, high other DER generation | 0.25 (HV), 0.10 (MV/LV) | 1 | 0.8 | 1
ℓPV | low load, high wind, very high PV, high other DER generation | 0.25 (HV), 0.10 (MV/LV) | 0.85 | 0.93 | 1

## Sheet2
bus | p_mw | q_mvar | sn_mva | name | type
2 | 0.1 | 0 | 0.1 | PV R1 | PV
12 | 0.03 | 0 | 0.03 | PV R11 | PV
16 | 0.03 | 0 | 0.03 | PV R15 | PV
17 | 0.03 | 0 | 0.03 | PV R16 | PV
18 | 0.05 | 0 | 0.05 | PV R17 | PV
19 | 0.05 | 0 | 0.05 | PV R18 | PV

## Sheet3
bus | p_mw | q_mvar | sn_mva | name | type
1 | 10 | 0 | 10 | PV 1 | PV
1 | 12 | 0 | 12 | WKA 1 | WP
3 | 0.15 | 0 | 0.15 | PV 3 | PV
4 | 0.3 | 0 | 0.3 | PV 4 | PV
8 | 0.15 | 0 | 0.15 | PV 8 | PV
9 | 0.45 | 0 | 0.45 | PV 9 | PV
11 | 0.3 | 0 | 0.3 | PV 11 | PV
7 | 3 | 0 | 3 | WKA 7 | WP
12 | 15 | 0 | 15 | PV 12 | PV
12 | 12 | 0 | 12 | WKA 12 | WP